PART 1	GENERAL

1.1	SUMMARY

- Provide all equipment and materials, and do all work necessary to furnish and install the Multi-Sport BallStopper System, as indicated on the drawings and as specified herein.

1.2	RELATED WORK

- Examine Contract Documents for requirements that affect work of this section.  Other specification sections that directly relate to work of this Section include, but are not limited to:

  - Section 02200 - Earthwork; Excavation and Backfill and establishment of subgrade elevations.

  - Section 02511 - Asphalt Concrete Pavement

  - Section 02535 - Synthetic Track Surfacing

  - Section 02542 - Synthetic Field Surfacing

  - Section 03300 - Cast-in-Place Concrete; Concrete foundations and bases for goals.

1.3		REFERENCES

- Comply with applicable requirements of the following standards.  Where these standards conflict with other specified requirements, the most restrictive requirements shall govern.

      - U.S. Tennis Court and Track Builders Association

      - National Federation of State High School Associations (NFSHSA)

      - National Collegiate Athletic Association (NCAA)

      - International Amateur Athletic Foundation (I.A.A.F.)

      - Manufacturers Data and Recommended Installation Requirements.

1.4		SUBMITTALS

- Manufacturers Product Data

            - Provide manufacturer’s product literature, technical specifications and other data prior to actual field installation work for Architect or Owner’s Representative review.

# Shop Drawings

  - Provide drawings of manufacturers recommended installation and foundation requirements prior to actual field installation work for Architect or Owner’s Representative review.

1.5		QUALITY ASSURANCE

- Manufacturers warranties shall pass to the Owner and certification made that the product materials meet all applicable grade trademarks or conform to industry standards and inspection requirements.

1.6	DELIVERY, STORAGE AND HANDLING

- Materials delivered to the site shall be examined for concealed damage or defects in shipping. Any defects shall be noted and reported to the Owner’s Representative.

- Replacements, if necessary, shall be immediately re-ordered, so as to minimize any conflict with the construction schedule.

- Sound materials shall be stored above the ground under protective cover or indoors so as to provide proper protection.

PART 2	PRODUCTS

2.1		MANUFACTURERS

- Manufacturers and product selections named are provided to establish the minimum standard.

      - Baseball Backstop System - As manufactured by AAE (Aluminum Athletic Equipment Co.); 1000 Enterprise Drive, Royersford, PA 19468; Toll Free (800) 523-5471.

2.2		Baseball equipment

- Baseball Backstop System - Shall be as manufactured by AAE:

  - Model # BBS-20-CD/12 (20' high system, 4 post tensioned):                                                                                 Posts: Straight Post 12"O.D. x .250" wall x 21'-0"long two outer (2) and 25’-0”long two (2) inner out of ground, Hot Rolled Steel with ½” thick welded bracket top, welded 18”sq. x 1-5/8” thick plate bottom, entire pole Hot Dip Galvanized with a three coat epoxy black with UV stabilizers

Footing Anchors: 1”-7 x 60” anchor j-bolts or threaded rod HDG with heavy-duty nuts HDG four (4) per anchor j-bolt with galvanized steel template

Net: 20' overall height to meet backstop wall and/or fence and dugout roof (as specified in architect drawings) by specified length (max 150’-0”), #N361, 1-3/4"sq. black UV-treated knotted nylon net, 360# tensile strength, ¼" MFP rope border all 4 sides.

Hardware: All stainless steel, galvanized hardware, 3/8”dia. galvanized steel aircraft cable load rated with clear protective UV resistant vinyl coating, 3/4”-10 HDG turnbuckle 5200 lbs. rated with 1/2”HDG anchor shackle to attach to post bracket and 3/8” wire rope clamps with 3/8” HDG thimble, 3/16” dia. galvanized clear coated cable used on vertical ends and horizontal bottom with ¼”-20 HDG turnbuckle and 304SS loc nuts with ¼”HDG, cable ties every 12”o.c. across horizontal top tensioned cable

Recommended Footing Specification: 36" diameter x 8’-0" depth with 6" compacted crushed stone at bottom, 4,000lbs. mix concrete and rebar schedule per AAE drawing #3 rebar and #5 wire ties, installation by contractor, consult local codes

  - Model # BBS-25-CD/12 (25' high system, 4 post tensioned):                                                                                 Posts: Straight Post 12"O.D. x .250" wall x 26'-0"long two outer (2) and 30’-0”long two (2) inner out of ground, Hot Rolled Steel with ½” thick welded bracket top, welded 18”sq. x 1-5/8” thick plate bottom, entire pole Hot Dip Galvanized with a three coat epoxy black with UV stabilizers

Footing Anchors: 1”-7 x 60” anchor j-bolts HDG with heavy-duty nuts HDG four (4) per anchor j-bolt with galvanized steel template

Net: 25' overall height to meet backstop wall and/or fence and dugout roof (as specified in architect drawings) by specified length (max 150’-0”), #N361, 1-3/4"sq. black UV-treated knotted nylon net, 360# tensile strength, ¼" MFP rope border all 4 sides.

Hardware: All stainless steel, galvanized hardware, 3/8”dia. galvanized steel aircraft cable load rated with clear protective UV resistant vinyl coating, 3/4”-10 HDG turnbuckle 5200 lbs. rated with 1/2”HDG anchor shackle to attach to post bracket and 3/8” wire rope clamps with 3/8” HDG thimble, 3/16” dia. galvanized clear coated cable used on vertical ends and horizontal bottom with ¼”-20 HDG turnbuckle and 304SS loc nuts with ¼”HDG, cable ties every 12”o.c. across horizontal top tensioned cable

Recommended Footing Specification: 36" diameter x 8’-0" depth with 6" compacted crushed stone at bottom, 4,000lbs. mix concrete and rebar schedule per AAE drawing #3 rebar and #5 wire ties, installation by contractor, consult local codes

  - Model # BBS-30-CD/12 (30' high system, 4 post tensioned):                                                                                 Posts: Straight Post 12"O.D. x .250" wall x 31'-0"long two outer (2) and 35’-0”long two (2) inner out of ground, Hot Rolled Steel with ½” thick welded bracket top, welded 18”sq. x 1-5/8” thick plate bottom, entire pole Hot Dip Galvanized with a three coat epoxy black with UV stabilizers

Footing Anchors: 1”-7 x 60” anchor j-bolts HDG with heavy-duty nuts HDG four (4) per anchor j-bolt with galvanized steel template

Net: 30' overall height to meet backstop wall and/or fence and dugout roof (as specified in architect drawings) by specified length (max 150’-0”), #N361, 1-3/4"sq. black UV-treated knotted nylon net, 360# tensile strength, ¼" MFP rope border all 4 sides.

Hardware: All stainless steel, galvanized hardware, 3/8”dia. galvanized steel aircraft cable load rated with clear protective UV resistant vinyl coating, 3/4”-10 HDG turnbuckle 5200 lbs. rated with 1/2”HDG anchor shackle to attach to post bracket and 3/8” wire rope clamps with 3/8” HDG thimble, 3/16” dia. galvanized clear coated cable used on vertical ends and horizontal bottom with ¼”-20 HDG turnbuckle and 304SS loc nuts with ¼”HDG, cable ties every 12”o.c. across horizontal top tensioned cable

Recommended Footing Specification: 36" diameter x 8’-0" depth with 6" compacted crushed stone at bottom, 4,000lbs. mix concrete and rebar schedule per AAE drawing #3 rebar and #5 wire ties, installation by contractor, consult local codes

  - Model # BBS-35-CD/12 (35' high system, 4 post tensioned):                                                                                 Posts: Straight Post 12"O.D. x .250" wall (reinforced internally) x 36'-0"long two outer (2) and 40’-0”long two (2) inner out of ground, Hot Rolled Steel with ½” thick welded bracket top, welded 18”sq. x 1-5/8” thick plate bottom, entire pole Hot Dip Galvanized with a three coat epoxy black with UV stabilizers

Footing Anchors: 1”-7 x 60” anchor j-bolts HDG with heavy-duty nuts HDG four (4) per anchor j-bolt with galvanized steel template

Net: 35' overall height to meet backstop wall and/or fence and dugout roof (as specified in architect drawings) by specified length (max 150’-0”), #N361, 1-3/4"sq. black UV-treated knotted nylon net, 360# tensile strength, ¼" MFP rope border all 4 sides.

Hardware: All stainless steel, galvanized hardware, 3/8”dia. galvanized steel aircraft cable load rated with clear protective UV resistant vinyl coating, 3/4”-10 HDG turnbuckle 5200 lbs. rated with 1/2”HDG anchor shackle to attach to post bracket and 3/8” wire rope clamps with 3/8” HDG thimble, 3/16” dia. galvanized clear coated cable used on vertical ends and horizontal bottom with ¼”-20 HDG turnbuckle and 304SS loc nuts with ¼”HDG, cable ties every 12”o.c. across horizontal top tensioned cable

Recommended Footing Specification: 48" diameter x 12’-0" depth with 6" compacted crushed stone at bottom, 4,000lbs. mix concrete and rebar schedule per AAE drawing #3 rebar and #5 wire ties, installation by contractor, consult local codes

  - Model # BBS-40-CD/12 (40' high system, 4 post tensioned):                                                                                 Posts: Straight Post 12"O.D. x .250" wall (reinforced internally) x 41'-0"long two outer (2) and 45’-0”long two (2) inner out of ground, Hot Rolled Steel with ½” thick welded bracket top, welded 18”sq. x 1-5/8” thick plate bottom, entire pole Hot Dip Galvanized with a three coat epoxy black with UV stabilizers

Footing Anchors: 1”-7 x 60” anchor j-bolts HDG with heavy-duty nuts HDG four (4) per anchor j-bolt with galvanized steel template

Net: 40' overall height to meet backstop wall and/or fence and dugout roof (as specified in architect drawings) by specified length (max 150’-0”), #N361, 1-3/4"sq. black UV-treated knotted nylon net, 360# tensile strength, ¼" MFP rope border all 4 sides.

Hardware: All stainless steel, galvanized hardware, 3/8”dia. galvanized steel aircraft cable load rated with clear protective UV resistant vinyl coating, 3/4”-10 HDG turnbuckle 5200 lbs. rated with 1/2”HDG anchor shackle to attach to post bracket and 3/8” wire rope clamps with 3/8” HDG thimble, 3/16” dia. galvanized clear coated cable used on vertical ends and horizontal bottom with ¼”-20 HDG turnbuckle and 304SS loc nuts with ¼”HDG, cable ties every 12”o.c. across horizontal top tensioned cable

Recommended Footing Specification: 48" diameter x 12’-0" depth with 6" compacted crushed stone at bottom, 4,000lbs. mix concrete and rebar schedule per AAE drawing #3 rebar and #5 wire ties, installation by contractor, consult local codes

  - Model # BBS-50-CD/14 (50’ high system, 4 post tensioned):

Posts: Straight Post 14” O.D. x .375” wall x 51’-0” long two (2) outer and 55’-0” long two (2) inner out of ground, Hot Rolled Steel with ½” thick welded bracket top, welded 18-1/2”sq. x 1-5/8” thick plate bottom, entire pole Hot Dip Galvanized with a three coat epoxy black with UV stabilizers

Footing Anchors: 1”-7 x 60” anchor j-bolts HDG with heavy-duty nuts HDG four (4) per anchor j-bolt with galvanized steel template

Net: 50' overall height to meet backstop wall and/or fence and dugout roof (as specified in architect drawings) by specified length (max 150’-0”), #N361, 1-3/4"sq. black UV-treated knotted nylon net, 360# tensile strength, ¼" MFP rope border all 4 sides.

Hardware: All stainless steel, galvanized hardware, 3/8”dia. galvanized steel aircraft cable load rated with clear protective UV resistant vinyl coating, 3/4”-10 HDG turnbuckle 5200 lbs. rated with 1/2”HDG anchor shackle to attach to post bracket and 3/8” wire rope clamps with 3/8” HDG thimble, 3/16” dia. galvanized clear coated cable used on vertical ends and horizontal bottom with ¼”-20 HDG turnbuckle and 304SS loc nuts with ¼”HDG, cable ties every 12”o.c. across horizontal top tensioned cable

Recommended Footing Specification: 48" diameter x 13’-8" depth with 6" compacted crushed stone at bottom, 4,000lbs. mix concrete and rebar schedule per AAE drawing #3 rebar and #5 wire ties, installation by contractor, consult local codes

PART 3	EXECUTION

3.1  		INSPECTION

- Examine the areas and conditions where equipment and systems are to be installed and notify the contractor of conditions detrimental to the proper and timely installation and completion of the work.

- Do not proceed with the work until unsatisfactory conditions have been corrected by the contractor in a manner acceptable and to the satisfaction of the Architect/Engineer or Owner's Representative.

3.2	INSTALLATION

- All athletic equipment shall be installed as indicated on approved submittals as recommended and in strict accordance with manufacturer's written directions and as indicated on the drawings and specified herein.

- All concrete footings for athletic equipment shall be installed as indicated on the drawings and in accordance with Section 03300, Cast-in-Place Concrete.

- All sleeves required for athletic equipment installation shall be set plumb and true to line and grade in concrete as indicated on the drawings and per manufacturer's recommendation.

- All athletic equipment shall be installed in strict accordance with the latest rules, regulations and specifications governing that sport or event for which it is being installed.

3.3  		TESTING, ADJUSTMENT AND OPERATION

- All athletic equipment requiring testing, adjustments and operation shall be tested for proper operation and adjusted to conform to specified standards.

- Provide certifications as required, indicating that equipment has been tested and adjusted to conform to specified standards.

- Provide operating and maintenance instructions and manuals to Owner -designated personnel for the proper operation and care of equipment after equipment has been tested and adjusted to conform to specified standards.

3.4  		CLEANING

- Upon completion of work in any given area, remove all trash and debris from the work area and leave in clean condition.

- END OF SECTION -